A

APPENDIX A

preliminary design report checklist

Dallas Water Utilities

A

| Preliminary Design Report Checklist Dallas Water Utilities |  |  |
| --- | --- | --- |
| Project Type* |  | Items |
| Minor | Major |  |
|  |  | 1.0 General - General project description along with location and limit. Project description typically be based on PID number (Manhole to manhole for wastewater and street/alley intersection to street/alley intersection for water) - Purpose of the project - General location map with Mapsco, and PID Number(s) |
|  |  | 2.0 Design Data 2.1 Record Search - Water/Wastewater Mains: - Size, type and age of existing water/wastewater main to be replaced - List of map references (685W, 411Q etc) - Adjacent Utilities: - Proposed/Existing adjacent water/wastewater mains, storm drains and franchise utilities 2.2 Water/Wastewater Condition Check, if Available: - Water condition check including water break index - Wastewater condition check including TV inspection summary report - Other field data as available 2.3 Pavement Data: - Street classification (M-2-U, R-2-U, etc) - Street material (asphalt, concrete, etc) - Pavement thickness, in inches, if available - Approximate age of existing pavement along with linear feet less than 5 years old and linear feet greater than 5 years old if available |
|  |  | 3.0 Evaluation of Alternatives, If Applicable - Evaluation of various alignment and/or design alternatives along with drawing and photographs as necessary - A table showing comparison of various options including cost estimate. |
|  |  | 4.0 Recommendation |
|  |  | 4.1 General - Selection of the preferred alternative/proposed alignment including drawing and photograph(s) as necessary - Proposed pipe size and material - Proposed construction method (Open cut or trenchless) |

Contd.

A

| Preliminary Design Report Checklist Dallas Water Utilities |  |  |
| --- | --- | --- |
| Project Type* |  | Items |
| Minor | Major |  |
|  |  | 4.2 Project Coordination: - Proposed projects by others to include project Scope, agency, project schedule, and impact to DWU |
|  |  | 4.3 Possible Impacts to Customers: - This may include an analysis of inconvenience factors, alternate routes, lost business, etc. |
|  |  | 4.5 Permits Requirements: Identification of potential permit(s) from following entities: - Corps of Engineers Permit - DART Permit - TXDOT Permit - TCEQ Permit - Railroad Permit - City of Dallas Street Cut Permit - NTTA - Customer Cities - Other Cities where the DWU utilities may be in non-City of Dallas public right of way or public owned easements. |
|  |  | 4.6 Rights of Ways or Easements Requirement(s): Identification of potential right-of-ways easement requirement(s): - Approximate area of new easement(s) or new property to be purchased in fee simple that is required to complete this project. |
|  |  | 4.7 Field Investigation: Identification of following investigative requirement(s) - Geotechnical Investigation: Soil Boring - Subsurface Utility Investigation (S.U.E) - Evaluating Potential for Contamination : File Search, Phase I or Phase II Environmental Site Assessment (ESA) |
|  |  | 4.8 Hydraulic Modeling: - Any recommended modeling scenarios that might be needed to see how this pipe might impact the DWU systems. |
|  |  | 4.9 Cost Estimate: |

* Minor Project typically refers to the following:

- Project consisting of less than 2000 LF of 12’ or smaller water and/or wastewater main basic replacement.

*Major Project typically refers to the following:

- Project consisting of greater than 2000 LF of water or/and wastewater main replacement

- Projects consist of typically larger than 12” in diameter

- New development projects

- Capacity improvement projects

- Other special projects as applicable.