H

APPENDIX H

Final plan review

checklist

| FINAL PLAN REVIEW CHECKLIST H |  |
| --- | --- |
|  | General |
|  | North Arrow and Horizontal/Vertical Bar Scale(s) |
|  | Location Map with North Arrow, Mapsco and PID Numbers |
|  | Caution Notes, Reference Old As-Built Maps-Water, Wastewater and Bud Holcomb |
|  | General Notes, Unless Covered by Project General Notes |
|  | Two Benchmarks Per Design Sheet (At Least One Must Be DWU Benchmark) |
|  | Engineer’s Seal, Signature, and TBPE Firm Registration Number, If Applicable |
|  | Title Block Consisting of Project Location/Limits, File and Sheet Number |
|  | DWU and Joint Contract Number as Applicable |
|  | Highway / Railroad/Other Agencies Approval or Reference Number(s) |
|  | R.O.W. / Property |
|  | Iron Pins, Rods, Spikes and Highway Monuments |
|  | Existing and Proposed Right-of-Way Limits and Width of Street, Alley, Highway and Railroad |
|  | Existing Easements with Size, Bearings, Volume and Page Number |
|  | Street Names and Railroad Owners |
|  | Lot, Block, Abstract Number and Dimension |
|  | Corporation Lines with Involved Cities Listed |
|  | Topographic Features |
|  | Limit and Type of Existing and Proposed Pavement of Streets, Sidewalks, Alleys, and Driveways |
|  | Existing or Abandoned Railway Tracks with Company Names |
|  | Power and Utility Poles (and Anchors) |
|  | Trees, Shrubs, and Landscaping |
|  | Mail Boxes, Road Signs and Signal Posts |
|  | Existing and Proposed Buildings and Structures with Address |
|  | Fences and Retaining Walls |
|  | Ex. and Prop. Bridges, Culverts, and Drainage Channels |
|  | Levees, Flood Plains, Creeks (with High and Low Banks) |
|  | Utilities |
|  | Existing Water Mains (Size, Material, Appurtenances- Manhole, Meter, Fire Hydrant, Valve, Existing 685W/411Q/FB and C.B Numbers) |
|  | Existing Wastewater Mains (Size, Material, Flow Direction, Appurtenances- Wastewater Access Device, Cleanout, Manhole with Pipe Invert Elevations, Existing 685W/411Q/FB/CB Numbers) |
|  | Existing and Proposed Storm drains (Size, Material, Appurtenances and Flow Direction) |
|  | Existing and Proposed Gas Mains (Size, Material and Appurtenances) |
|  | Existing and Proposed Underground Telephone (Size, Material and Appurtenances) |
|  | Existing and Proposed Underground Electric (Size, Material and Appurtenances) |
|  | Existing and Proposed Underground Cable (Size, Material and Appurtenances) |
|  | Existing and Proposed Underground Fiber Optic (Size, Material and Appurtenances) |

| H DESIGN PLAN CHECKLIST- CONTD. |  |
| --- | --- |
|  | Proposed Water Mains |
|  | Plan View: |
|  | “Install” Notes for All Proposed Water Appurtenances (Valves, Fire Hydrants, Tees, Reducers, Horizontal and Vertical Bends, etc) |
|  | Station, PI’s, and Curve Data as Necessary |
|  | Northing and Easting at Beginning, Ending and PI Stations |
|  | “Cut and Plug” Note |
|  | Title Note (“INSTALL … LF..” including “Kill Ex…., Year Built ) |
|  | Profile View: |
|  | Existing and Proposed Ground Line |
|  | Pertinent Design Notes for Prop. Appurtenances |
|  | Proposed Slope, Grade Breaks Points and Vertical Curves |
|  | Cross Utilities and Parallel Utilities (If Within 10 ft) |
|  | By Other Than Open Cut (Limits, Encasements, Special Conditions, etc) |
|  | Special Backfill (Limits, Material) |
|  | Note Showing Prop. Pipe Description- Linear Feet, Size, Material, Class and Embedment |
|  | Proposed Wastewater Mains |
|  | Plan View: |
|  | “Construct” Notes for All Proposed Wastewater Appurtenances (Manholes, Wastewater Access Device, Cleanout etc.) |
|  | Station, PI’s, and Curve Data as Necessary |
|  | Northing and Easting at Beginning, Ending, PI and Manhole Stations |
|  | “Connect To Manhole”, “Remove Manhole” or “Abandon Manhole” Notes |
|  | Existing and Proposed Pipe Size with Flow Direction |
|  | Title Note (“CONSTRUCT … LF…” including Abandoned EX ..” and Year Built) |
|  | Profile View: |
|  | Existing and Proposed Ground Line |
|  | Pertinent Design Notes for Proposed Appurtenances |
|  | Existing and Proposed Slope and Pipe Size |
|  | Cross and Parallel (Within 10’) Utilities |
|  | By Other Than Open Cut (Limits, Encasements, Special Conditions, etc) |
|  | Special Backfill (Limits, Material) |