CITY OF DALLAS

DEVELOPMENT IMPACT REPORT GUIDELINES

PROJECT INFORMATION

- Project Name

- Owner, Project Engineer, Project Architect, and any other people involved in the Development with contact information for each.

- Special District (existing or future)

  - Tax Increment Finance District, if applicable

  - Public Improvement District, if applicable

  - Municipal Management District, if applicable.

- General explanation of the project

  - What is planned for construction?

  - How many acres of development is planned

  - Basic Zoning types or Planned Development (PD) number

    - If PD, list requirements that may impact water / wastewater usage (i.e.) very high densities, more than 5 stories, etc.

    - If PD or some other type of development on which Dallas’ City Council has placed some type of requirements, list the specific requirements and how these are being addressed.

    - If there are Deed Restrictions, contractual issues, or other obligations under which the property may be developed, list this and how they are being addressed.

  - Estimated Population for site, if applicable

    - Include number of units, typical sizes for each unit [sq. ft.], expected average number of people per unit, and any unique features [hi/Low toilets, gray/black water systems, recycled water irrigations systems, etc.]

  - A brief study of the surrounding utilities including existing pipe sizes, slopes, and capacities.  This will be general information with a brief explanation of expected potential concerns or “non-concerns” regarding the existing and proposed utilities.

- Project Phasing Plan and Schedule.

  - Include expected number of units, sizes of units, expected average number of people per unit, etc., per phase,  retail / commercial space per phase, expected water / wastewater generated per phase (in accordance with Design Guidelines), any unique water / wastewater impacts per phase, and so on.

UTLITY INFORMATION

- Utilities sizing calculation

  - Projected Water use, in detail.

  - Projected wastewater use, in detail.

    - Projected Wastewater outfall from property

    - Downstream interceptors that might be adversely impacted by project

- Detailed Project Phasing plan for project, if applicable

  - Zoning, Preliminary Platting, Design, Final Platting, Construction, building permits, etc.

- Explanation of existing DWU Programmed extensions or other Interagency projects impacted

  - The Developer’s engineer is invited to use the Visiting Engineer’s Kiosk in Engineering Services.

- Explanation of proposed new facilities if necessary.  This includes but is not limited to:

  - Tanks/Pumps (publicly or privately maintained)

  - Lift stations  (publicly or privately maintained)

  - Pressure Reducing Vaults (PRVs)

  - Detailed explanations of any major and minor pipeline improvements required to serve the project. It is expected that this explanation will include a significant look downstream at capacities downstream of the project.

  - Detailed explanation of any expected impacts to the existing DWU water distribution system or Wastewater collection system such as “deluge systems”, privately maintained wastewater treatment systems, etc.

  - Detailed explanations of unusually high or low water or wastewater needs or demands including unusual Biochemical Oxygen demanding  (BOD)  waste effluent demands (such as in a food or waste processing plant).

  - Detailed explanation of any proposed street or thoroughfare improvements that may impact utility placement within right-of-ways. (Such as in complying with Dallas’ new “Complete Streets” program or demanded by the Dallas’ new Storm water management system (iSWM) program.

- Two Drawings showing existing and proposed water/wastewater utilities

  - 11”X 17” in Color

- Estimated cost for “onsite” utilities.

  - Water

  - Wastewater

- Estimate cost for “offsite” utilities.

  - Water

  - Wastewater

OTHER ISSUES:

- Project issues

  - Special Permits needed for construction

    - State, Local, etc

  - Potential Impacts to the Citizens of Dallas

- Conclusion

  - Special Requests

    - All Special Requiests should be specific

    - All Special Requests should  include costs estimates for the project and cost estimates for Dallas’s involvement.

    - All special Requests should include any benefits to the City including tax revenues impacts, projected additional water / wastewater sales impacts, etc.

FORMAT

- 15 Pages is typical.

- Latest version of Microsoft Word Document for editing and commenting during project approval stage.

- Digital PDF of the final document with appropriate signatures.